## Sheet1
project | change | rationale
armagh_and_drumnakelly_reinforcement | Renamed Armagh Upgrade | Clarity
belfast_power_flow_control | New Project | Load related, security of supply
cam_second_110/33kv_transformer | New Project | Driven by new potential connections
cam_substation_extension | New Project | Renewable Integration
coleraine_transformer_replacement | New Project | Driven by new connections
coolkeeragh_killymallaght_strabane_uprate | Renamed Coolkeeragh – Strabane Upgrade | Clarity
coolkeeragh_t1_transformer_cabling_uprate | Renamed Coolkeeragh 275/110 kV Transformer 1 Cabling Uprate | Clarity
drumnakelly_tandragee_uprate | New Project | Renewable Integration
fermanagh_and_west_tyrone_transmission_cluster | New Project | Driven by new connections
fermanagh_upgrade | New Project | Renewable integration, security of supply
filter_tuning | On hold | Requires CVT Upgrade to be complete to provide input data
gort_2^{nd}_110/33_kv_transformer | Removed | Project Completed
kells_cluster_second_110/33_kv_transformer | New Project | Driven by potential new connections
kilroot_transmission_substation | New Project | Renewable integration, security of supply
limavady_mesh_extension_and_transformer_replacement | Renamed Limavady Transformer Replacement | Clarity, progressing as transformer replacement only
lisburn_upgrade | New Project
mid_tyrone_project | Renamed Connect West | Preliminary preferred option identified
northwest_special_protection_scheme | On hold | On hold
omagh_main_dromore_uprate | Removed | Project Completed
rasharkin_second_110/33_kv_transformer | New Project | Driven by potential new connections
tamnamore_land_purchase | New Project | Renewable Integration, Security of Supply
tremoge_second_110/33kv_transformer | New project | Driven by potential new connections