## Sheet1
project_title | type | km | new_connection | security_of_supply | res_integration | market_integration | inter_regional_power_flows | local_constraints | connection | inter_connection | asset_condition | stage_part | total_tso_m | total_to_m | total_m | tpdni_tso_m | tdpni_to_m | tdpni_total_m | capex_change_m | ecd
airport_road | New build | 0 |  | ✓ |  |  |  | ✓ | ✓ |  |  | NIE N | 0.91 | 16.93 | 17.84 | 0.01 | 16.93 | 16.94 | +11.14 | 2027
armagh_upgrade | New build | 17 |  | ✓ |  |  |  | ✓ | ✓ |  |  | 1 | 9.73 | 29.43 | 39.16 | 9.73 | 29.43 | 39.16 | +12.06 | 2036
ballylumford_ballyvallagh_110_kv_uprate | Uprate/ Modify | 17 |  |  | ✓ |  | ✓ |  | ✓ |  |  | C | 2.28 | 22.78 | 25.06 | 2.28 | 22.78 | 25.06 | +16.76 | TBC
belfast_power_flow_control_(new) | New build | 0 |  | ✓ |  |  |  | ✓ |  |  |  | C | 0.50 | 6.51 | 7.01 | 0.50 | 6.51 | 7.01 | n/a | TBC
carnmoney_eden_reinforcement | Refurbish/ Replace/ Uprate/ Modify | 12 |  | ✓ |  |  | ✓ |  |  |  | ✓ | 2 | 1.18 | 37.33 | 38.51 | 1.18 | 37.33 | 38.51 | +7.51 | 2031
castlereagh_110_kv_switchgear_replacement | Uprate/ Modify | 0 |  | ✓ |  |  |  | ✓ |  |  |  | NIE N | 0 | 3.35 | 3.35 | 0 | 3.35 | 3.35 | +0.25 | 2031
castlereagh_275_kv_redevelopment | Uprate/ Modify | 0 |  | ✓ |  |  |  |  | ✓ |  | ✓ | 1 | 1.13 | 33.33 | 34.46 | 1.13 | 33.33 | 34.46 | +9.86 | 2034-2038
drumnakelly_tamnamore_110_kv_uprate | Uprate/ Modify | 22 |  | ✓ | ✓ |  | ✓ | ✓ |  |  |  | 2 | 0.85 | 23.47 | 24.32 | 0.76 | 23.47 | 24.23 | +1.82 | 2031
drumnakelly_tandragee_uprate_(new) | Uprate/ Modify | 5 |  | ✓ | ✓ |  |  | ✓ |  |  |  | C | 0.86 | 8.60 | 9.46 | 0.86 | 8.60 | 9.46 | n/a | TBC
energising_belfast | Refurbish/Replace/New build | 25 |  | ✓ |  |  | ✓ |  |  |  | ✓ | 2 | 3.0 | 82.17 | 85.17 | 0.65 | 78.83 | 79.48 | +39.67 | 2032
kells_110/33_kv_cluster | New build | 0 | ✓ |  | ✓ |  |  | ✓ | ✓ |  |  | NIE N | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 2026
kells_cluster_second_110/33_kv_transformer_(new) | New build | 0 | ✓ |  | ✓ |  |  |  | ✓ |  |  | 1 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 2029
kells_275_kv_redevelopment | Uprate/ Modify | 0 |  | ✓ |  |  |  |  | ✓ |  | ✓ | 1 | 0.98 | 51.06 | 52.04 | 0.98 | 51.06 | 52.04 | +27.44 | 2034-2038
kilroot_transmission_substation_(new) | New build | 0 |  | ✓ | ✓ |  |  | ✓ |  |  |  | C | 1.8 | 116.07 | 117.87 | 1.8 | 87.05 | 88.85 | n/a | TBC
larne_transformer_replacement | Uprate/ Modify | 0 |  |  | ✓ |  |  | ✓ | ✓ |  |  | NIE N | 0 | 4.73 | 4.73 | 0 | 4.73 | 4.73 | +1.73 | 2026
lisburn_upgrade | New build | 3* | ✓ | ✓ |  |  |  | ✓ | ✓ |  |  | 1 | 20.69 | 100.46 | 121.15 | 20.59 | 0 | 20.59 | n/a | TBC
magherafelt_275_kv_redevelopment | Uprate/ Modify | 0 |  | ✓ |  |  |  |  | ✓ |  | ✓ | 1 | 1.14 | 24.28 | 25.42 | 1.14 | 24.28 | 25.42 | +0.82 | 2034-2038
moyle_interconnector_capacity_increase | New build | 1 |  | ✓ | ✓ | ✓ | ✓ | ✓ |  | ✓ |  | 2 | 0.68 | 9.01 | 9.69 | 0.64 | 9.01 | 9.65 | +0.19 | 2030
north_south_400_kv_interconnection_development_[image]_(tyndp/_81) | New build | 137 (34)^{59} |  | ✓ | ✓ | ✓ | ✓ | ✓ |  | ✓ |  | NIE N | 22.09 | 217.0 | 239.09 | 6.0 | 214.0 | 220.0 | +119.89 | 2031
newry_reinforcement | New build | TBD |  | ✓ |  |  |  | ✓ |  |  |  | 1 | 10.29 | 51.48 | 61.77 | 10.29 | 0 | 10.29 | +32.47 | 2038
shunt_reactors_castlereagh,_tandragee_and_tamnamore | New build | 0 |  | ✓ |  |  |  | ✓ |  |  |  | NIE N | 0 | 6.80 | 6.80 | 0 | 3.40 | 3.40 | +0.50 | 2031
tamnamore_land_purchase_(new) | New build | 0 |  | ✓ |  |  |  | ✓ | ✓ |  |  | 2 | 0.29 | 1.5 | 1.79 | 0.29 | 1.5 | 1.79 | n/a | 2027
tandragee_110_kv_switchgear_replacement | Uprate/ Modify | 0 |  | ✓ |  |  |  | ✓ |  |  |  | NIE N | 0 | 2.96 | 2.96 | 0 | 2.22 | 2.22 | +0.26 | 2029
tandragee_275_kv_redevelopment | Uprate/ Modify | 0 |  | ✓ |  |  |  |  | ✓ |  | ✓ | 1 | 1.13 | 42.57 | 43.70 | 1.11 | 38.39 | 38.50 | +18.4 | 2034-2038